## Exact copy numbers
European Union Reference Laboratory for Animal Proteins in feedingstuffs Walloon Agricultural Research Centre, Knowledge and Valorisation of Agricultural Products Department (U12) Henseval Building, Chaussée de Namur 24, B – 5030 GEMBLOUX Tel : 32 (0) 81 87 52 28 Fax : 32 (0) 81 87 40 09 e-mail: secretary@eurl.craw.eu Internet : https://www.eurl.craw.eu
Determination of the cut-off of a PCR platform (Poultry - chicken/turkey - PCR test)
Calibrants | Exact copy numbers
640 copies / 5 µl |  |  | }
160 copies / 5 µl |  |  |  | Introduce the exact values of copy numbers
40 copies / 5 µl
Cut-off at 15 copies | #DIV/0! | cycles | Ü | The cut-off of your PCR platform will be determined after performing 16 calibrations (run1, run 2, run 3 and run 4)
Number of copies at the Cut-off | #NUM! | copies | ð | The number of copies at the cut-off must be > 9 copies
Disclaimer
This SOP includes the use of the PCR test validated for the detection of poultry DNA.
Its full application is on the condition that poultry calibrants are available.
Version 1.0
Publication date 13.09.2021
Applicable on 15.09.2021

## Run 1
European Union Reference Laboratory for Animal Proteins in feedingstuffs Walloon Agricultural Research Centre, Knowledge and Valorisation of Agricultural Products Department (U12) Henseval Building, Chaussée de Namur 24, B – 5030 GEMBLOUX Tel : 32 (0) 81 87 52 28 Fax : 32 (0) 81 87 40 09 e-mail: secretary@eurl.craw.eu Internet : https://www.eurl.craw.eu
Run 1
|  |  | Cut-off at 15 copies | #DIV/0! | cycles
Date
Thermocycler |  |  | After having filled in the cells with your Ct values, a number must appear in the cells "Cut-off".
Baseline |  | Auto | If not (####### will appear in the cell), check that your format for the numbers is correct.
Threshold |  | Auto | The problem can be due to your decimal symbol (the dot "." or the comma ",")
Change of decimal symbol in your Ct values. If the problem remains, please contact the EURL-AP.
Calibrators
Wells | Nr of copy | Ct | Poultry (chicken / turkey) cut-off
A1 | 640 |  |  |  |  | Version 1.0
A2 | 640 |  |  |  |  | Publication date 13.09.2021
A3 | 640 |  |  |  |  | Applicable on 15.09.2021
A4 | 160
A5 | 160
A6 | 160
A7 | 40
A8 | 40
A9 | 40
B1 | 640
B2 | 640
B3 | 640
B4 | 160
B5 | 160
B6 | 160
B7 | 40
B8 | 40
B9 | 40
C1 | 640
C2 | 640
C3 | 640
C4 | 160
C5 | 160
C6 | 160
C7 | 40
C8 | 40
C9 | 40
D1 | 640
D2 | 640
D3 | 640
D4 | 160
D5 | 160
D6 | 160
D7 | 40
D8 | 40
D9 | 40

## Run 2
European Union Reference Laboratory for Animal Proteins in feedingstuffs Walloon Agricultural Research Centre, Knowledge and Valorisation of Agricultural Products Department (U12) Henseval Building, Chaussée de Namur 24, B – 5030 GEMBLOUX Tel : 32 (0) 81 87 52 28 Fax : 32 (0) 81 87 40 09 e-mail: secretary@eurl.craw.eu Internet : https://www.eurl.craw.eu
Run 2
|  |  | Cut-off at 15 copies | #DIV/0! | cycles
Date
Thermocycler |  |  | After having filled in the cells with your Ct values, a number must appear in the cells "Cut-off".
Baseline |  | Auto | If not (####### will appear in the cell), check that your format for the numbers is correct.
Threshold |  | Auto | The problem can be due to your decimal symbol (the dot "." or the comma ",")
Change of decimal symbol in your Ct values. If the problem remains, please contact the EURL-AP.
Calibrators
Wells | Nr of copy | Ct | Poultry (chicken / turkey) cut-off
A1 | 640 |  |  |  |  | Version 1.0
A2 | 640 |  |  |  |  | Publication date 13.09.2021
A3 | 640 |  |  |  |  | Applicable on 15.09.2021
A4 | 160
A5 | 160
A6 | 160
A7 | 40
A8 | 40
A9 | 40
B1 | 640
B2 | 640
B3 | 640
B4 | 160
B5 | 160
B6 | 160
B7 | 40
B8 | 40
B9 | 40
C1 | 640
C2 | 640
C3 | 640
C4 | 160
C5 | 160
C6 | 160
C7 | 40
C8 | 40
C9 | 40
D1 | 640
D2 | 640
D3 | 640
D4 | 160
D5 | 160
D6 | 160
D7 | 40
D8 | 40
D9 | 40

## Run 3
European Union Reference Laboratory for Animal Proteins in feedingstuffs Walloon Agricultural Research Centre, Knowledge and Valorisation of Agricultural Products Department (U12) Henseval Building, Chaussée de Namur 24, B – 5030 GEMBLOUX Tel : 32 (0) 81 87 52 28 Fax : 32 (0) 81 87 40 09 e-mail: secretary@eurl.craw.eu Internet : https://www.eurl.craw.eu
Run 3
|  |  | Cut-off at 15 copies | #DIV/0! | cycles
Date
Thermocycler |  |  | After having filled in the cells with your Ct values, a number must appear in the cells "Cut-off".
Baseline |  | Auto | If not (####### will appear in the cell), check that your format for the numbers is correct.
Threshold |  | Auto | The problem can be due to your decimal symbol (the dot "." or the comma ",")
Change of decimal symbol in your Ct values. If the problem remains, please contact the EURL-AP.
Calibrators
Wells | Nr of copy | Ct | Poultry (chicken / turkey) cut-off
A1 | 640 |  |  |  |  | Version 1.0
A2 | 640 |  |  |  |  | Publication date 13.09.2021
A3 | 640 |  |  |  |  | Applicable on 15.09.2021
A4 | 160
A5 | 160
A6 | 160
A7 | 40
A8 | 40
A9 | 40
B1 | 640
B2 | 640
B3 | 640
B4 | 160
B5 | 160
B6 | 160
B7 | 40
B8 | 40
B9 | 40
C1 | 640
C2 | 640
C3 | 640
C4 | 160
C5 | 160
C6 | 160
C7 | 40
C8 | 40
C9 | 40
D1 | 640
D2 | 640
D3 | 640
D4 | 160
D5 | 160
D6 | 160
D7 | 40
D8 | 40
D9 | 40

## Run 4
European Union Reference Laboratory for Animal Proteins in feedingstuffs Walloon Agricultural Research Centre, Knowledge and Valorisation of Agricultural Products Department (U12) Henseval Building, Chaussée de Namur 24, B – 5030 GEMBLOUX Tel : 32 (0) 81 87 52 28 Fax : 32 (0) 81 87 40 09 e-mail: secretary@eurl.craw.eu Internet : https://www.eurl.craw.eu
Run 4
|  |  | Cut-off at 15 copies | #DIV/0! | cycles
Date
Thermocycler |  |  | After having filled in the cells with your Ct values, a number must appear in the cells "Cut-off".
Baseline |  | Auto | If not (####### will appear in the cell), check that your format for the numbers is correct.
Threshold |  | Auto | The problem can be due to your decimal symbol (the dot "." or the comma ",")
Change of decimal symbol in your Ct values. If the problem remains, please contact the EURL-AP.
Calibrators
Wells | Nr of copy | Ct | Poultry (chicken / turkey) cut-off
A1 | 640 |  |  |  |  | Version 1.0
A2 | 640 |  |  |  |  | Publication date 13.09.2021
A3 | 640 |  |  |  |  | Applicable on 15.09.2021
A4 | 160
A5 | 160
A6 | 160
A7 | 40
A8 | 40
A9 | 40
B1 | 640
B2 | 640
B3 | 640
B4 | 160
B5 | 160
B6 | 160
B7 | 40
B8 | 40
B9 | 40
C1 | 640
C2 | 640
C3 | 640
C4 | 160
C5 | 160
C6 | 160
C7 | 40
C8 | 40
C9 | 40
D1 | 640
D2 | 640
D3 | 640
D4 | 160
D5 | 160
D6 | 160
D7 | 40
D8 | 40
D9 | 40

## PCR control and samples (hidden)
PCR NEGATIVE CONTROLS
[6 empty] | 0 % ou 0 copy | [6 empty] | 0,0125 % ou 50 copies | [6 empty] | 0,0250 % ou 100 copies | [6 empty] | 0,1 % ou 400 copies
Run | Wells | Nr of copy | Ct | Nr of copy calculated | Run | Nr samples | Wells | Ct | Nr of copy calculated | 10 copies | 15copies | Run | Nr samples | Wells | Ct | Nr of copy calculated | 10 copies | 15copies | Run | Nr samples | Wells | Ct | Nr of copy calculated | 10 copies | 15copies | Run | Nr samples | Wells | Ct | Nr of copy calculated | 10 copies | 15copies
Run 1 | A10 | 0 | #REF! | #REF! | Run 1 | 2 | E9 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 1 | A11 | 0 | #REF! | #REF! | Run 1 | 2 | E10 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 1 | A12 | 0 | #REF! | #REF! | Run 1 | 2 | F9 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 1 | B10 | 0 | #REF! | #REF! | Run 1 | 2 | F10 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 1 | B11 | 0 | #REF! | #REF! | Run 1 | 2 | G8 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 1 | B12 | 0 | #REF! | #REF! | Run 1 | 2 | G9 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 1 | C10 | 0 | #REF! | #REF! | Run 1 | 2 | G10 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 1 | C11 | 0 | #REF! | #REF! | Run 1 | 2 | H8 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 1 | C12 | 0 | #REF! | #REF! | Run 1 | 2 | H9 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 1 | D10 | 0 | #REF! | #REF! | Run 1 | 2 | H10 | #REF! | #REF! | #REF! | #REF! | Run 1 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 2 | 2 | A10 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | E9 | 0 | #REF! | #REF! | Run 2 | 2 | A11 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | E10 | 0 | #REF! | #REF! | Run 2 | 2 | A12 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | F9 | 0 | #REF! | #REF! | Run 2 | 2 | B10 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | F10 | 0 | #REF! | #REF! | Run 2 | 2 | B11 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | G8 | 0 | #REF! | #REF! | Run 2 | 2 | B12 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | G9 | 0 | #REF! | #REF! | Run 2 | 2 | C10 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | G10 | 0 | #REF! | #REF! | Run 2 | 2 | C11 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | H8 | 0 | #REF! | #REF! | Run 2 | 2 | C12 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | H9 | 0 | #REF! | #REF! | Run 2 | 2 | D10 | #REF! | #REF! | #REF! | #REF! | Run 2 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 2 | 1 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 2 | H10 | 0 | #REF! | #REF! | Run 1 | 4 | E4 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 1 | 4 | E5 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | E1 | 0 | #REF! | #REF! | Run 1 | 4 | F4 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | E2 | 0 | #REF! | #REF! | Run 1 | 4 | F5 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | E3 | 0 | #REF! | #REF! | Run 1 | 4 | G3 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | F1 | 0 | #REF! | #REF! | Run 1 | 4 | G4 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | F2 | 0 | #REF! | #REF! | Run 1 | 4 | G5 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | F3 | 0 | #REF! | #REF! | Run 1 | 4 | H3 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | G1 | 0 | #REF! | #REF! | Run 1 | 4 | H4 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | G2 | 0 | #REF! | #REF! | Run 1 | 4 | H5 | #REF! | #REF! | #REF! | #REF! | Run 3 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 3 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | H1 | 0 | #REF! | #REF! | Run 2 | 4 | E1 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 3 | H2 | 0 | #REF! | #REF! | Run 2 | 4 | E2 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 2 | 4 | E3 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 4 | E4 | 0 | #REF! | #REF! | Run 2 | 4 | F1 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 4 | E5 | 0 | #REF! | #REF! | Run 2 | 4 | F2 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 4 | F4 | 0 | #REF! | #REF! | Run 2 | 4 | F3 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 4 | F5 | 0 | #REF! | #REF! | Run 2 | 4 | G1 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 4 | G3 | 0 | #REF! | #REF! | Run 2 | 4 | G2 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 4 | G4 | 0 | #REF! | #REF! | Run 2 | 4 | H1 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 4 | G5 | 0 | #REF! | #REF! | Run 2 | 4 | H2 | #REF! | #REF! | #REF! | #REF! | Run 4 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | Run 4 | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Run 4 | H3 | 0 | #REF! | #REF! | Run 3 | 8 | E9 | #REF! | #REF! | #REF! | #REF! |  |  |  |  | Total | #REF! | #REF! |  |  |  |  | Total | #REF! | #REF! |  |  |  |  | Total | #REF! | #REF!
Run 4 | H4 | 0 | #REF! | #REF! | Run 3 | 8 | E10 | #REF! | #REF! | #REF! | #REF! |  |  |  |  | False negative | #REF! | #REF! |  |  |  |  | False negative | #REF! | #REF! |  |  |  |  | False negative | #REF! | #REF!
Run 4 | H5 | 0 | #REF! | #REF! | Run 3 | 8 | F9 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 8 | F10 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 8 | G8 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 8 | G9 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 8 | G10 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 8 | H8 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 8 | H9 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 8 | H10 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | A10 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | A11 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | A12 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | B10 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | B11 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | B12 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | C10 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | C11 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | C12 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 8 | D10 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | E6 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | E7 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | E8 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | F6 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | F7 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | F8 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | G6 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | G7 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | H6 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 3 | 9 | H7 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | D11 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | D12 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | E11 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | E12 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | F11 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | F12 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | G11 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | G12 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | H11 | #REF! | #REF! | #REF! | #REF!
[5 empty] | Run 4 | 9 | H12 | #REF! | #REF! | #REF! | #REF!
[9 empty] | Total | #REF! | #REF!
[9 empty] | False positive | #REF! | #REF!

## Cut-off 15 copies (hidden)
Estimation de la limite supérieure (cut-off) par régression inverse | [7 empty] | Détail des calculs
Régression linéaire
[9 empty] | byx |  | intercept
[8 empty] | y = | #DIV/0! | x+ | #DIV/0!
Plasmide ruminant
Calibration | Puits | Nombre de copies/5µl | CP | Dev std | CP moy | Calcul Nombre de copies/5µl | Calcul Nombre de copies moy/5µl | y | x | Ey ou (yij - y=) | CEy ou (yij - y=)2 | SCEy | Ex | CEx | SCEx | PE | SPE | SPE2 | SPE2/SCEx | SCEy-SPE2/SCEx | s2Y.x | [ ] | √
1 | A1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A2 | 0 | 0 |  |  | #DIV/0!
| A3 | 0 | 0 |  |  | #DIV/0!
| A4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A5 | 0 | 0 |  |  | #DIV/0!
| A6 | 0 | 0 |  |  | #DIV/0!
| A7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A8 | 0 | 0 |  |  | #DIV/0!
| A9 | 0 | 0 |  |  | #DIV/0!
2 | B1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B2 | 0 | 0 |  |  | #DIV/0!
| B3 | 0 | 0 |  |  | #DIV/0!
| B4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B5 | 0 | 0 |  |  | #DIV/0!
| B6 | 0 | 0 |  |  | #DIV/0!
| B7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B8 | 0 | 0 |  |  | #DIV/0!
| B9 | 0 | 0 |  |  | #DIV/0!
3 | C1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C2 | 0 | 0 |  |  | #DIV/0!
| C3 | 0 | 0 |  |  | #DIV/0!
| C4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C5 | 0 | 0 |  |  | #DIV/0!
| C6 | 0 | 0 |  |  | #DIV/0!
| C7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C8 | 0 | 0 |  |  | #DIV/0!
| C9 | 0 | 0 |  |  | #DIV/0!
4 | D1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D2 | 0 | 0 |  |  | #DIV/0!
| D3 | 0 | 0 |  |  | #DIV/0!
| D4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D5 | 0 | 0 |  |  | #DIV/0!
| D6 | 0 | 0 |  |  | #DIV/0!
| D7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D8 | 0 | 0 |  |  | #DIV/0!
| D9 | 0 | 0 |  |  | #DIV/0!
5 | A1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A2 | 0 | 0 |  |  | #DIV/0!
| A3 | 0 | 0 |  |  | #DIV/0!
| A4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A5 | 0 | 0 |  |  | #DIV/0!
| A6 | 0 | 0 |  |  | #DIV/0!
| A7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A8 | 0 | 0 |  |  | #DIV/0!
| A9 | 0 | 0 |  |  | #DIV/0!
6 | B1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B2 | 0 | 0 |  |  | #DIV/0!
| B3 | 0 | 0 |  |  | #DIV/0!
| B4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B5 | 0 | 0 |  |  | #DIV/0!
| B6 | 0 | 0 |  |  | #DIV/0!
| B7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B8 | 0 | 0 |  |  | #DIV/0!
| B9 | 0 | 0 |  |  | #DIV/0!
7 | C1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C2 | 0 | 0 |  |  | #DIV/0!
| C3 | 0 | 0 |  |  | #DIV/0! | [17 empty] | Représentation graphique de la régression linéaire classique
| C4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C5 | 0 | 0 |  |  | #DIV/0!
| C6 | 0 | 0 |  |  | #DIV/0!
| C7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C8 | 0 | 0 |  |  | #DIV/0!
| C9 | 0 | 0 |  |  | #DIV/0!
8 | D1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D2 | 0 | 0 |  |  | #DIV/0!
| D3 | 0 | 0 |  |  | #DIV/0!
| D4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D5 | 0 | 0 |  |  | #DIV/0!
| D6 | 0 | 0 |  |  | #DIV/0!
| D7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D8 | 0 | 0 |  |  | #DIV/0!
| D9 | 0 | 0 |  |  | #DIV/0!
9 | A1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A2 | 0 | 0 |  |  | #DIV/0!
| A3 | 0 | 0 |  |  | #DIV/0!
| A4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A5 | 0 | 0 |  |  | #DIV/0!
| A6 | 0 | 0 |  |  | #DIV/0!
| A7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A8 | 0 | 0 |  |  | #DIV/0!
| A9 | 0 | 0 |  |  | #DIV/0!
10 | B1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B2 | 0 | 0 |  |  | #DIV/0! | [17 empty] | Estimation de la limite supérieure (cut-off) par régression inverse (Draper et Smith, 1966)
| B3 | 0 | 0 |  |  | #DIV/0!
| B4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | [16 empty] | Symbôles Dagnelie | Avec g | g=0 | Formules Draper & Smith | sas
| B5 | 0 | 0 |  |  | #DIV/0! | [17 empty] | a | 0.05 | 0.05 | a | alpha
| B6 | 0 | 0 |  |  | #DIV/0! | [17 empty] | t(1-a/2) | 1.9768 | 1.9768 | t | t=tinv(coef,df) | coef=1-alpha/2 | df=n-2
| B7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B8 | 0 | 0 |  |  | #DIV/0! | [17 empty] | x0 | #DIV/0! | #DIV/0! | X0 | xpred
| B9 | 0 | 0 |  |  | #DIV/0! | [17 empty] | x= | #DIV/0! | #DIV/0! | Xm | xmean
11 | C1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | [16 empty] | g | #DIV/0! | 0 | g | (mse*t**2)/(css*b1**2)
| C2 | 0 | 0 |  |  | #DIV/0! | [17 empty] | s=racine(s2Y.x) | #DIV/0! | #DIV/0! | s | _rmse_ | s2Y.x=mse
| C3 | 0 | 0 |  |  | #DIV/0! | [17 empty] | t(1-a/2)*s | #DIV/0! | #DIV/0! | ts | t*s
| C4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | [16 empty] | byx | #DIV/0! | #DIV/0! | b | b1
| C5 | 0 | 0 |  |  | #DIV/0! | [17 empty] | SCE(x) | 0 | 0 | Sxx | css
| C6 | 0 | 0 |  |  | #DIV/0! | [17 empty] | n | 144 | 144 | n | n
| C7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | [17 empty] | Avec g | g=0
| C8 | 0 | 0 |  |  | #DIV/0! | [17 empty] | X2(y0) | #DIV/0! | #DIV/0! | XU | upperg
| C9 | 0 | 0 |  |  | #DIV/0!
12 | D1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | [16 empty] | Références | Dagnelie, P. (1998). Statistique théorique et appliquée. Tome 2. Inférence statistique à une et à deux dimensions. Paris et Bruxelles, De Boeck et Larcier, 659 pp,
| D2 | 0 | 0 |  |  | #DIV/0! | [18 empty] | formule n°2 - page 430, 2° relative aux limites de confiance des valeurs individuelles
| D3 | 0 | 0 |  |  | #DIV/0! | [18 empty] | Draper, N.R. & Smith, H. (1966). Applied regression analysis. New York, John Wiley & Sons, 709 pp. - formule 1.7.6 - page 49 avec application pour les valeurs individuelles (voir page 50)
| D4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D5 | 0 | 0 |  |  | #DIV/0! | [17 empty] | Vérification de l'estimation de la limite supérieure par estimation des intervalles de confiance d'une valeur estimée (Dagnelie, 1998)
| D6 | 0 | 0 |  |  | #DIV/0!
| D7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | [16 empty] | XU (=limite supérieure pour y=0 =cut-off)= |  |  | #DIV/0!
| D8 | 0 | 0 |  |  | #DIV/0! | [17 empty] | valeur de y pour XU =y(xU) |  |  | #DIV/0!
| D9 | 0 | 0 |  |  | #DIV/0!
13 | A1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | [16 empty] | y2(xU)-y(xU)= | #DIV/0!
| A2 | 0 | 0 |  |  | #DIV/0! | [18 empty] | =t(1-a/2)*(racine(s2Y.x * [ ]))
| A3 | 0 | 0 |  |  | #DIV/0!
| A4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | [16 empty] | y2(XU)= | #DIV/0! |  | La valeur du y au niveau du cut-off est bien équivalente à 0
| A5 | 0 | 0 |  |  | #DIV/0! | [18 empty] | =y(xU)+t(1-a/2)*(racine(s2Y.x * [ ]))
| A6 | 0 | 0 |  |  | #DIV/0!
| A7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A8 | 0 | 0 |  |  | #DIV/0!
| A9 | 0 | 0 |  |  | #DIV/0!
14 | B1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B2 | 0 | 0 |  |  | #DIV/0!
| B3 | 0 | 0 |  |  | #DIV/0!
| B4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B5 | 0 | 0 |  |  | #DIV/0!
| B6 | 0 | 0 |  |  | #DIV/0!
| B7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B8 | 0 | 0 |  |  | #DIV/0!
| B9 | 0 | 0 |  |  | #DIV/0!
15 | C1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C2 | 0 | 0 |  |  | #DIV/0!
| C3 | 0 | 0 |  |  | #DIV/0!
| C4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C5 | 0 | 0 |  |  | #DIV/0!
| C6 | 0 | 0 |  |  | #DIV/0!
| C7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C8 | 0 | 0 |  |  | #DIV/0!
| C9 | 0 | 0 |  |  | #DIV/0!
16 | D1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D2 | 0 | 0 |  |  | #DIV/0!
| D3 | 0 | 0 |  |  | #DIV/0!
| D4 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D5 | 0 | 0 |  |  | #DIV/0!
| D6 | 0 | 0 |  |  | #DIV/0!
| D7 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D8 | 0 | 0 |  |  | #DIV/0!
| D9 | 0 | 0 |  |  | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0! |  |  | 0 |  |  | 0 |  | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | y= | x= | yij - y= | (yij - y=)2 | SCE(y) | xij - x= | (xij - x=)2 | SCE(x) ou Sxx | PE(x,y) | SPE(x,y) | SPE2(x,y) | SPE2(x,y)/SCE(x) | SCE(y)-SPE2(x,y)/SCE(x) | s2Y.x | [ ] de la formule Dagnelie | s=racine(s2Y.x * [ ])
racine(s2Y.x)=_RMSE_
Note on J7: Viviane Planchon: log du nombre de copies
Note on K7: Viviane Planchon: Cp=nombre de cycles
Note on W7: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986
Note on W153: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986

## Cal 15 copies Run 1 (hidden)
Estimation de la limite supérieure (cut-off) par régression inverse | [7 empty] | Détail des calculs
Régression linéaire
[9 empty] | byx |  | intercept
[8 empty] | y = | #DIV/0! | x+ | #DIV/0!
Plasmide ruminant
Calibration | Puits | Nombre de copies/5µl | CP | Dev std | CP moy | Calcul Nombre de copies/5µl | Calcul Nombre de copies moy/5µl | y | x | Ey ou (yij - y=) | CEy ou (yij - y=)2 | SCEy | Ex | CEx | SCEx | PE | SPE | SPE2 | SPE2/SCEx | SCEy-SPE2/SCEx | s2Y.x | [ ] | √
1 | A1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A2 | 680 | 0 |  |  | #DIV/0!
| A3 | 680 | 0 |  |  | #DIV/0!
| A4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A5 | 177 | 0 |  |  | #DIV/0!
| A6 | 177 | 0 |  |  | #DIV/0!
| A7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A8 | 46 | 0 |  |  | #DIV/0!
| A9 | 46 | 0 |  |  | #DIV/0!
2 | B1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B2 | 680 | 0 |  |  | #DIV/0!
| B3 | 680 | 0 |  |  | #DIV/0!
| B4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B5 | 177 | 0 |  |  | #DIV/0!
| B6 | 177 | 0 |  |  | #DIV/0!
| B7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B8 | 46 | 0 |  |  | #DIV/0!
| B9 | 46 | 0 |  |  | #DIV/0!
3 | C1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C2 | 680 | 0 |  |  | #DIV/0!
| C3 | 680 | 0 |  |  | #DIV/0!
| C4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C5 | 177 | 0 |  |  | #DIV/0!
| C6 | 177 | 0 |  |  | #DIV/0!
| C7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C8 | 46 | 0 |  |  | #DIV/0!
| C9 | 46 | 0 |  |  | #DIV/0!
4 | D1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D2 | 680 | 0 |  |  | #DIV/0!
| D3 | 680 | 0 |  |  | #DIV/0!
| D4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D5 | 177 | 0 |  |  | #DIV/0!
| D6 | 177 | 0 |  |  | #DIV/0!
| D7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D8 | 46 | 0 |  |  | #DIV/0!
| D9 | 46 | 0 |  |  | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0! |  |  | 0 |  |  | 0 |  | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | y= | x= | yij - y= | (yij - y=)2 | SCE(y) | xij - x= | (xij - x=)2 | SCE(x) ou Sxx | PE(x,y) | SPE(x,y) | SPE2(x,y) | SPE2(x,y)/SCE(x) | SCE(y)-SPE2(x,y)/SCE(x) | s2Y.x | [ ] de la formule Dagnelie | s=racine(s2Y.x * [ ])
racine(s2Y.x)=_RMSE_
Représentation graphique de la régression linéaire classique
Estimation de la limite supérieure (cut-off) par régression inverse (Draper et Smith, 1966)
[24 empty] | Symbôles Dagnelie | Avec g | g=0 | Formules Draper & Smith | sas
[24 empty] | a | 0.05 | 0.05 | a | alpha
[24 empty] | t(1-a/2) | 2.0322 | 2.0322 | t | t=tinv(coef,df) | coef=1-alpha/2 | df=n-2
[24 empty] | x0 | #DIV/0! | #DIV/0! | X0 | xpred
[24 empty] | x= | #DIV/0! | #DIV/0! | Xm | xmean
[24 empty] | g | #DIV/0! | 0 | g | (mse*t**2)/(css*b1**2)
[24 empty] | s=racine(s2Y.x) | #DIV/0! | #DIV/0! | s | _rmse_ | s2Y.x=mse
[24 empty] | t(1-a/2)*s | #DIV/0! | #DIV/0! | ts | t*s
[24 empty] | byx | #DIV/0! | #DIV/0! | b | b1
[24 empty] | SCE(x) | 0 | 0 | Sxx | css
[24 empty] | n | 36 | 36 | n | n
[25 empty] | Avec g | g=0
[24 empty] | X2(y0) | #DIV/0! | #DIV/0! | XU | upperg
[24 empty] | Références | Dagnelie, P. (1998). Statistique théorique et appliquée. Tome 2. Inférence statistique à une et à deux dimensions. Paris et Bruxelles, De Boeck et Larcier, 659 pp,
formule n°2 - page 430, 2° relative aux limites de confiance des valeurs individuelles
Draper, N.R. & Smith, H. (1966). Applied regression analysis. New York, John Wiley & Sons, 709 pp. - formule 1.7.6 - page 49 avec application pour les valeurs individuelles (voir page 50)
Vérification de l'estimation de la limite supérieure par estimation des intervalles de confiance d'une valeur estimée (Dagnelie, 1998)
[24 empty] | XU (=limite supérieure pour y=0 =cut-off)= |  |  | #DIV/0!
[24 empty] | valeur de y pour XU =y(xU) |  |  | #DIV/0!
[24 empty] | y2(xU)-y(xU)= | #DIV/0!
=t(1-a/2)*(racine(s2Y.x * [ ]))
[24 empty] | y2(XU)= | #DIV/0! |  | La valeur du y au niveau du cut-off est bien équivalente à 0
=y(xU)+t(1-a/2)*(racine(s2Y.x * [ ]))
Note on J7: Viviane Planchon: log du nombre de copies
Note on K7: Viviane Planchon: Cp=nombre de cycles
Note on W7: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986
Note on W45: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986

## Cal 15 copies Run 2 (hidden)
Estimation de la limite supérieure (cut-off) par régression inverse | [7 empty] | Détail des calculs
Régression linéaire
[9 empty] | byx |  | intercept
[8 empty] | y = | #DIV/0! | x+ | #DIV/0!
Plasmide ruminant
Calibration | Puits | Nombre de copies/5µl | CP | Dev std | CP moy | Calcul Nombre de copies/5µl | Calcul Nombre de copies moy/5µl | y | x | Ey ou (yij - y=) | CEy ou (yij - y=)2 | SCEy | Ex | CEx | SCEx | PE | SPE | SPE2 | SPE2/SCEx | SCEy-SPE2/SCEx | s2Y.x | [ ] | √
1 | A1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A2 | 680 | 0 |  |  | #DIV/0!
| A3 | 680 | 0 |  |  | #DIV/0!
| A4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A5 | 177 | 0 |  |  | #DIV/0!
| A6 | 177 | 0 |  |  | #DIV/0!
| A7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A8 | 46 | 0 |  |  | #DIV/0!
| A9 | 46 | 0 |  |  | #DIV/0!
2 | B1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B2 | 680 | 0 |  |  | #DIV/0!
| B3 | 680 | 0 |  |  | #DIV/0!
| B4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B5 | 177 | 0 |  |  | #DIV/0!
| B6 | 177 | 0 |  |  | #DIV/0!
| B7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B8 | 46 | 0 |  |  | #DIV/0!
| B9 | 46 | 0 |  |  | #DIV/0!
3 | C1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C2 | 680 | 0 |  |  | #DIV/0!
| C3 | 680 | 0 |  |  | #DIV/0!
| C4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C5 | 177 | 0 |  |  | #DIV/0!
| C6 | 177 | 0 |  |  | #DIV/0!
| C7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C8 | 46 | 0 |  |  | #DIV/0!
| C9 | 46 | 0 |  |  | #DIV/0!
4 | D1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D2 | 680 | 0 |  |  | #DIV/0!
| D3 | 680 | 0 |  |  | #DIV/0!
| D4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D5 | 177 | 0 |  |  | #DIV/0!
| D6 | 177 | 0 |  |  | #DIV/0!
| D7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D8 | 46 | 0 |  |  | #DIV/0!
| D9 | 46 | 0 |  |  | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0! |  |  | 0 |  |  | 0 |  | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | y= | x= | yij - y= | (yij - y=)2 | SCE(y) | xij - x= | (xij - x=)2 | SCE(x) ou Sxx | PE(x,y) | SPE(x,y) | SPE2(x,y) | SPE2(x,y)/SCE(x) | SCE(y)-SPE2(x,y)/SCE(x) | s2Y.x | [ ] de la formule Dagnelie | s=racine(s2Y.x * [ ])
racine(s2Y.x)=_RMSE_
Représentation graphique de la régression linéaire classique
Estimation de la limite supérieure (cut-off) par régression inverse (Draper et Smith, 1966)
[24 empty] | Symbôles Dagnelie | Avec g | g=0 | Formules Draper & Smith | sas
[24 empty] | a | 0.05 | 0.05 | a | alpha
[24 empty] | t(1-a/2) | 2.0322 | 2.0322 | t | t=tinv(coef,df) | coef=1-alpha/2 | df=n-2
[24 empty] | x0 | #DIV/0! | #DIV/0! | X0 | xpred
[24 empty] | x= | #DIV/0! | #DIV/0! | Xm | xmean
[24 empty] | g | #DIV/0! | 0 | g | (mse*t**2)/(css*b1**2)
[24 empty] | s=racine(s2Y.x) | #DIV/0! | #DIV/0! | s | _rmse_ | s2Y.x=mse
[24 empty] | t(1-a/2)*s | #DIV/0! | #DIV/0! | ts | t*s
[24 empty] | byx | #DIV/0! | #DIV/0! | b | b1
[24 empty] | SCE(x) | 0 | 0 | Sxx | css
[24 empty] | n | 36 | 36 | n | n
[25 empty] | Avec g | g=0
[24 empty] | X2(y0) | #DIV/0! | #DIV/0! | XU | upperg
[24 empty] | Références | Dagnelie, P. (1998). Statistique théorique et appliquée. Tome 2. Inférence statistique à une et à deux dimensions. Paris et Bruxelles, De Boeck et Larcier, 659 pp,
formule n°2 - page 430, 2° relative aux limites de confiance des valeurs individuelles
Draper, N.R. & Smith, H. (1966). Applied regression analysis. New York, John Wiley & Sons, 709 pp. - formule 1.7.6 - page 49 avec application pour les valeurs individuelles (voir page 50)
Vérification de l'estimation de la limite supérieure par estimation des intervalles de confiance d'une valeur estimée (Dagnelie, 1998)
[24 empty] | XU (=limite supérieure pour y=0 =cut-off)= |  |  | #DIV/0!
[24 empty] | valeur de y pour XU =y(xU) |  |  | #DIV/0!
[24 empty] | y2(xU)-y(xU)= | #DIV/0!
=t(1-a/2)*(racine(s2Y.x * [ ]))
[24 empty] | y2(XU)= | #DIV/0! |  | La valeur du y au niveau du cut-off est bien équivalente à 0
=y(xU)+t(1-a/2)*(racine(s2Y.x * [ ]))
Note on J7: Viviane Planchon: log du nombre de copies
Note on K7: Viviane Planchon: Cp=nombre de cycles
Note on W7: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986
Note on W45: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986

## Cal 15 copies Run 3 (hidden)
Estimation de la limite supérieure (cut-off) par régression inverse | [7 empty] | Détail des calculs
Régression linéaire
[9 empty] | byx |  | intercept
[8 empty] | y = | #DIV/0! | x+ | #DIV/0!
Plasmide ruminant
Calibration | Puits | Nombre de copies/5µl | CP | Dev std | CP moy | Calcul Nombre de copies/5µl | Calcul Nombre de copies moy/5µl | y | x | Ey ou (yij - y=) | CEy ou (yij - y=)2 | SCEy | Ex | CEx | SCEx | PE | SPE | SPE2 | SPE2/SCEx | SCEy-SPE2/SCEx | s2Y.x | [ ] | √
1 | A1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A2 | 680 | 0 |  |  | #DIV/0!
| A3 | 680 | 0 |  |  | #DIV/0!
| A4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A5 | 177 | 0 |  |  | #DIV/0!
| A6 | 177 | 0 |  |  | #DIV/0!
| A7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A8 | 46 | 0 |  |  | #DIV/0!
| A9 | 46 | 0 |  |  | #DIV/0!
2 | B1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B2 | 680 | 0 |  |  | #DIV/0!
| B3 | 680 | 0 |  |  | #DIV/0!
| B4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B5 | 177 | 0 |  |  | #DIV/0!
| B6 | 177 | 0 |  |  | #DIV/0!
| B7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B8 | 46 | 0 |  |  | #DIV/0!
| B9 | 46 | 0 |  |  | #DIV/0!
3 | C1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C2 | 680 | 0 |  |  | #DIV/0!
| C3 | 680 | 0 |  |  | #DIV/0!
| C4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C5 | 177 | 0 |  |  | #DIV/0!
| C6 | 177 | 0 |  |  | #DIV/0!
| C7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C8 | 46 | 0 |  |  | #DIV/0!
| C9 | 46 | 0 |  |  | #DIV/0!
4 | D1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D2 | 680 | 0 |  |  | #DIV/0!
| D3 | 680 | 0 |  |  | #DIV/0!
| D4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D5 | 177 | 0 |  |  | #DIV/0!
| D6 | 177 | 0 |  |  | #DIV/0!
| D7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D8 | 46 | 0 |  |  | #DIV/0!
| D9 | 46 | 0 |  |  | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0! |  |  | 0 |  |  | 0 |  | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | y= | x= | yij - y= | (yij - y=)2 | SCE(y) | xij - x= | (xij - x=)2 | SCE(x) ou Sxx | PE(x,y) | SPE(x,y) | SPE2(x,y) | SPE2(x,y)/SCE(x) | SCE(y)-SPE2(x,y)/SCE(x) | s2Y.x | [ ] de la formule Dagnelie | s=racine(s2Y.x * [ ])
racine(s2Y.x)=_RMSE_
Représentation graphique de la régression linéaire classique
Estimation de la limite supérieure (cut-off) par régression inverse (Draper et Smith, 1966)
[24 empty] | Symbôles Dagnelie | Avec g | g=0 | Formules Draper & Smith | sas
[24 empty] | a | 0.05 | 0.05 | a | alpha
[24 empty] | t(1-a/2) | 2.0322 | 2.0322 | t | t=tinv(coef,df) | coef=1-alpha/2 | df=n-2
[24 empty] | x0 | #DIV/0! | #DIV/0! | X0 | xpred
[24 empty] | x= | #DIV/0! | #DIV/0! | Xm | xmean
[24 empty] | g | #DIV/0! | 0 | g | (mse*t**2)/(css*b1**2)
[24 empty] | s=racine(s2Y.x) | #DIV/0! | #DIV/0! | s | _rmse_ | s2Y.x=mse
[24 empty] | t(1-a/2)*s | #DIV/0! | #DIV/0! | ts | t*s
[24 empty] | byx | #DIV/0! | #DIV/0! | b | b1
[24 empty] | SCE(x) | 0 | 0 | Sxx | css
[24 empty] | n | 36 | 36 | n | n
[25 empty] | Avec g | g=0
[24 empty] | X2(y0) | #DIV/0! | #DIV/0! | XU | upperg
[24 empty] | Références | Dagnelie, P. (1998). Statistique théorique et appliquée. Tome 2. Inférence statistique à une et à deux dimensions. Paris et Bruxelles, De Boeck et Larcier, 659 pp,
formule n°2 - page 430, 2° relative aux limites de confiance des valeurs individuelles
Draper, N.R. & Smith, H. (1966). Applied regression analysis. New York, John Wiley & Sons, 709 pp. - formule 1.7.6 - page 49 avec application pour les valeurs individuelles (voir page 50)
Vérification de l'estimation de la limite supérieure par estimation des intervalles de confiance d'une valeur estimée (Dagnelie, 1998)
[24 empty] | XU (=limite supérieure pour y=0 =cut-off)= |  |  | #DIV/0!
[24 empty] | valeur de y pour XU =y(xU) |  |  | #DIV/0!
[24 empty] | y2(xU)-y(xU)= | #DIV/0!
=t(1-a/2)*(racine(s2Y.x * [ ]))
[24 empty] | y2(XU)= | #DIV/0! |  | La valeur du y au niveau du cut-off est bien équivalente à 0
=y(xU)+t(1-a/2)*(racine(s2Y.x * [ ]))
Note on J7: Viviane Planchon: log du nombre de copies
Note on K7: Viviane Planchon: Cp=nombre de cycles
Note on W7: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986
Note on W45: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986

## Cal 15 copies Run 4 (hidden)
Estimation de la limite supérieure (cut-off) par régression inverse | [7 empty] | Détail des calculs
Régression linéaire
[9 empty] | byx |  | intercept
[8 empty] | y = | #DIV/0! | x+ | #DIV/0!
Plasmide ruminant
Calibration | Puits | Nombre de copies/5µl | CP | Dev std | CP moy | Calcul Nombre de copies/5µl | Calcul Nombre de copies moy/5µl | y | x | Ey ou (yij - y=) | CEy ou (yij - y=)2 | SCEy | Ex | CEx | SCEx | PE | SPE | SPE2 | SPE2/SCEx | SCEy-SPE2/SCEx | s2Y.x | [ ] | √
1 | A1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A2 | 680 | 0 |  |  | #DIV/0!
| A3 | 680 | 0 |  |  | #DIV/0!
| A4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A5 | 177 | 0 |  |  | #DIV/0!
| A6 | 177 | 0 |  |  | #DIV/0!
| A7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| A8 | 46 | 0 |  |  | #DIV/0!
| A9 | 46 | 0 |  |  | #DIV/0!
2 | B1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B2 | 680 | 0 |  |  | #DIV/0!
| B3 | 680 | 0 |  |  | #DIV/0!
| B4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B5 | 177 | 0 |  |  | #DIV/0!
| B6 | 177 | 0 |  |  | #DIV/0!
| B7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| B8 | 46 | 0 |  |  | #DIV/0!
| B9 | 46 | 0 |  |  | #DIV/0!
3 | C1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C2 | 680 | 0 |  |  | #DIV/0!
| C3 | 680 | 0 |  |  | #DIV/0!
| C4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C5 | 177 | 0 |  |  | #DIV/0!
| C6 | 177 | 0 |  |  | #DIV/0!
| C7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| C8 | 46 | 0 |  |  | #DIV/0!
| C9 | 46 | 0 |  |  | #DIV/0!
4 | D1 | 680 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D2 | 680 | 0 |  |  | #DIV/0!
| D3 | 680 | 0 |  |  | #DIV/0!
| D4 | 177 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D5 | 177 | 0 |  |  | #DIV/0!
| D6 | 177 | 0 |  |  | #DIV/0!
| D7 | 46 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| D8 | 46 | 0 |  |  | #DIV/0!
| D9 | 46 | 0 |  |  | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0! |  |  | 0 |  |  | 0 |  | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | y= | x= | yij - y= | (yij - y=)2 | SCE(y) | xij - x= | (xij - x=)2 | SCE(x) ou Sxx | PE(x,y) | SPE(x,y) | SPE2(x,y) | SPE2(x,y)/SCE(x) | SCE(y)-SPE2(x,y)/SCE(x) | s2Y.x | [ ] de la formule Dagnelie | s=racine(s2Y.x * [ ])
racine(s2Y.x)=_RMSE_
Représentation graphique de la régression linéaire classique
Estimation de la limite supérieure (cut-off) par régression inverse (Draper et Smith, 1966)
[24 empty] | Symbôles Dagnelie | Avec g | g=0 | Formules Draper & Smith | sas
[24 empty] | a | 0.05 | 0.05 | a | alpha
[24 empty] | t(1-a/2) | 2.0322 | 2.0322 | t | t=tinv(coef,df) | coef=1-alpha/2 | df=n-2
[24 empty] | x0 | #DIV/0! | #DIV/0! | X0 | xpred
[24 empty] | x= | #DIV/0! | #DIV/0! | Xm | xmean
[24 empty] | g | #DIV/0! | 0 | g | (mse*t**2)/(css*b1**2)
[24 empty] | s=racine(s2Y.x) | #DIV/0! | #DIV/0! | s | _rmse_ | s2Y.x=mse
[24 empty] | t(1-a/2)*s | #DIV/0! | #DIV/0! | ts | t*s
[24 empty] | byx | #DIV/0! | #DIV/0! | b | b1
[24 empty] | SCE(x) | 0 | 0 | Sxx | css
[24 empty] | n | 36 | 36 | n | n
[25 empty] | Avec g | g=0
[24 empty] | X2(y0) | #DIV/0! | #DIV/0! | XU | upperg
[24 empty] | Références | Dagnelie, P. (1998). Statistique théorique et appliquée. Tome 2. Inférence statistique à une et à deux dimensions. Paris et Bruxelles, De Boeck et Larcier, 659 pp,
formule n°2 - page 430, 2° relative aux limites de confiance des valeurs individuelles
Draper, N.R. & Smith, H. (1966). Applied regression analysis. New York, John Wiley & Sons, 709 pp. - formule 1.7.6 - page 49 avec application pour les valeurs individuelles (voir page 50)
Vérification de l'estimation de la limite supérieure par estimation des intervalles de confiance d'une valeur estimée (Dagnelie, 1998)
[24 empty] | XU (=limite supérieure pour y=0 =cut-off)= |  |  | #DIV/0!
[24 empty] | valeur de y pour XU =y(xU) |  |  | #DIV/0!
[24 empty] | y2(xU)-y(xU)= | #DIV/0!
=t(1-a/2)*(racine(s2Y.x * [ ]))
[24 empty] | y2(XU)= | #DIV/0! |  | La valeur du y au niveau du cut-off est bien équivalente à 0
=y(xU)+t(1-a/2)*(racine(s2Y.x * [ ]))
Note on J7: Viviane Planchon: log du nombre de copies
Note on K7: Viviane Planchon: Cp=nombre de cycles
Note on W7: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986
Note on W45: Viviane Planchon: formule page 268 Dagnelie Tome 2 1986

## Nbre copies cut-off 15 copies (hidden)
Nbre copies | Log nbre copies | Ct
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM!
0 | #NUM! |  | Pente | #NUM!
0 | #NUM! |  | Ordonnée à l'origine | #NUM!
0 | #NUM! |  | Nombre de copies au cut-off 15 copies | #NUM!
0 | #NUM!

## Outliers
| 640 |  | 160 |  | 40
Run 1
Run 2
Run 3
Run 4
| Mean | #DIV/0! | Mean | #DIV/0! | Mean | #DIV/0!
| SD | #DIV/0! | SD | #DIV/0! | SD | #DIV/0!
| Mean - 3 SD | #DIV/0! | Mean - 3 SD | #DIV/0! | Mean - 3 SD | #DIV/0!
| Mean + 3 SD | #DIV/0! | Mean + 3 SD | #DIV/0! | Mean + 3 SD | #DIV/0!
Version 1.0
Publication date 13.09.2021
Applicable on 15.09.2021